## Slide 1: Progress Review
16019243 – N. Appleton
Notes: Hard to fit all in in 15 mins, will only be a brief overview

## Slide 2: Background
Bipolar disorder
seasonal affective disorder
type 2 diabetes
We thrive best under more naturally lit environments
This research is completely neglected in the built environment (Grose, 2014)
There are no existing, economical solutions
Light Affects:
Sleep
Attentiveness
Cancer
“Light affect our sleep more powerfully than any drug”
(Czeisler, 2013)
Can a modular natural-lighting solution be economically produced?
Notes: Lots of literature
No affordable consumer solutions
Only for offices/warehouses
Not complex, but filling a need

## Slide 3: Methods
Develop Requirements
Develop Hardware & Simulator
Calibrate Simulator
Determine Desired Spectra
Test Desired Spectra
Analyse effectiveness of device
Determine how the device should function
What would make a successful device?
Create PCBs that will fulfil the requirements
Produce a simulator that can synthesis spectral outputs
Calibrate synthesised outputs
Use measured outputs from the device
Calculate and produce spectra to be used on the device
Ensure as close to solar outputs as possible
Use spectrometer to test the accuracy of the device outputs
Using automation suite to extract spectral data from images
Test device against requirements
Use outputs to determine sleep effects (Lucas, 2014)
Notes: Vojtech
Melanopic lux

## Slide 4: timeline
Notes: Kanban style agile workflow using clickup
Due to the pandemic, lots of strategies have been employed:
adaptable gantt charts,
emphasis on simulator,
alternative study questions

## Slide 5: Outputs
Prototype
Simulator
PCB
Spectrometers
Notes: Things produced
Creative results

## Slide 6: Results
Compact Fluorescent Lamp
Output of device when all LEDs are at full brightness
Notes: Spectrometer extremely accurate
Automated image analysis also accurate (needs calibration)
Simulator very accurate

## Slide 7: Evaluation
So far:
  developed working hardware
  Overcome a lack of access to equipment
  Proven that the measurement method is robust
  Developed an accurate simulation suite
  Developed automation software to aid with recordings
  Begun optimisation of output spectra
Notes: the hardware is relatively simple,
the completion reflects the adaptability of the project management.
The current results not yet fit into the state-of-the art
Fills a gap in the market
Breadboard work as intended
Spectrometer and simulator are both accurate
confident will fit the requirements specification
and effectively prevent melatonin secretion

## Slide 8: Next steps
What’s left:
  Optimise device output spectra using simulator and measurements (ongoing)
  Convert arbitrary intensity to using lux measurements
  Analyse melanopic effect of light
  Verify that spectra can be faded between “realistically”
Notes: The brightness of the device may be the only shortcoming – needs more LEDs

## Slide 9: References
Czeisler, C. A. (2013). Perspective: casting light on sleep deficiency. Nature, 497(7450), S13-S13.
Grose, M. (2014). Artificial light at night: a neglected population health concern of the built environment. Health promotion journal of Australia: official journal of Australian Association of Health Promotion Professionals, 25(3), 193-195.
Lucas, R.J., Peirson, S.N., Berson, D.M., Brown, T.M., Cooper, H.M., Czeisler, C.A., Figueiro, M.G., Gamlin, P.D., Lockley, S.W., O’Hagan, J.B. and Price, L.L., (2014). Measuring and using light in the melanopsin age. Trends in neurosciences, 37(1), pp.1-9.